Vidyasagar Metropolitan College

**TENDER NOTICE FOR PLUMBING WORK**

Tender No: VMC/Office/Building/5/25 dated 21/03/2025

Quotations are invited in sealed cover for plumbing of water pipeline from overhead tank to washroom adjacent to Principal’s room.

Vendors may visit the actual site during office hours i.e 11 am to 4 p.m

(Contact: 9123318397/8444967337)

Time limit of completion of the work 7 days after issuing of work order.

Sealed envelope containing quotation, copy of trade license, GST registration certificate and PAN card can be dropped at tender box available near the glass door of new building entrance by 12 noon of 28/03/2025.

Contact number of the vendor should be clearly mentioned on the outside of the envelope for sharing information.

Work details:

1. Supply and Installation of 20 mm UPVC inlet pipe (approximate 200 ft from overhead tank to washroom) with necessary fittings.
2. Supply and installation of one gate valve for the pipeline mentioned in point number 1
3. Supply and Installation of approximate 75 ft Supreme PVC waste pipe of diameter 100 mm with required accessories to be connected to sewerage Pit.
4. Supply and Installation of approximate 75 ft Supreme PVC waste pipe of diameter 75 mm with required accessories to be connected to sewerage Pit.

For pipeline submit rate @running ft and for gate valve submit LS rate including GST

Principal

Vidyasagar Metropolitan College